## Slide 1: Quantitative Dual-Color Direct Stochastic Optical Reconstruction Microscopy
Peter Hoboth
Laboratory of Biology of the Cell Nucleus
Laboratory of Confocal
and Fluorescence Microscopy

## Slide 2: Overview
Introduction – theoretical background
  Super-resolution microscopy; single-molecule localization microscopy
  Direct stochastic optical reconstruction microscopy (dSTORM)
  Quantitative dual-color dSTORM (Q-DC-dSTORM)
The role of nuclear lipids in the regulation of gene expression
  Biology of nuclear phosphatidylinositol phosphates (nPIPs)
  Application of Q-DC-dSTORM to study spatial distribution of nPIPs
Hands on: Q-DC-dSTORM

## Slide 3: Introduction – theoretical background
  Super-resolution microscopy; single-molecule localization microscopy
  Direct stochastic optical reconstruction microscopy (dSTORM)
  Quantitative dual-color dSTORM (Q-DC-dSTORM)

## Slide 4: Spatial Scales in Biology and Microscopy
Adapted from Turkowyd et al., 2016

## Slide 5: Spatial Resolutions in Imaging Techniques
Adapted from Schermelleh et al., 2010

## Slide 6: Super-resolution Microscopy Techniques: Structured Illumination Microscopy and Single Molecule Localization Microscopy
Adapted from Schermelleh et al., 2010

## Slide 7
Wide-field
3D-SIM
(MIP)
H2B-SNAP-JF549
RNAPII
A
B
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 8: Super-resolution Microscopy Techniques: Structured Illumination Microscopy and Single Molecule Localization Microscopy
Adapted from Schermelleh et al., 2010

## Slide 9
Wide-field
dSTORM
E
F
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 10: Single Molecule Localization Microscopy
Adapted from Schermelleh et al., 2010
Adapted from Schermelleh et al., 2010

## Slide 11: SMLM is Based on the Fluorophore Transition between Fluorescent (On) and Dark (Off) State (Blinking)
Adapted from Abberior

## Slide 12: Fluorophores Useful for SMLM
Adapted from Liu et al., 2015

## Slide 13: Example Mechanisms of Photoswitching
Adapted from Chozinski et al., 2014
Notes: Example mechanisms for photoswitching of a cyanine and rhodamine fluorophore. (Top) Upon incubation with a phosphine or illumination with 647 nm light in the presence of a thiol or phosphine, Cy5 transitions to a non-fluorescent state adduct consisting of the phosphine or thiol bound to the polymethine bridge. Illumination with ultraviolet light can dissociate the adduct. (Bottom) Several rhodamine fluorophores can be converted to a long-lived, non-fluorescent radical upon illumination with light at their main absorption band in the absence of oxygen. The dark form may be photoactivated by illumination with ultraviolet light

## Slide 14: Example Mechanisms of Photoswitching
Adapted from Chozinski et al., 2014
Notes: Example mechanisms for photoswitching of a cyanine and rhodamine fluorophore. (Top) Upon incubation with a phosphine or illumination with 647 nm light in the presence of a thiol or phosphine, Cy5 transitions to a non-fluorescent state adduct consisting of the phosphine or thiol bound to the polymethine bridge. Illumination with ultraviolet light can dissociate the adduct. (Bottom) Several rhodamine fluorophores can be converted to a long-lived, non-fluorescent radical upon illumination with light at their main absorption band in the absence of oxygen. The dark form may be photoactivated by illumination with ultraviolet light

## Slide 15: Photochemistry of Alexa Fluor 647
Adapted from Fan et al., 2019
Notes: In quantum mechanics, a triplet is a quantum state of a system with a spin of quantum number s =1, such that there are three allowed values of the spin component, ms = −1, 0, and +1.
Spin, in the context of quantum mechanics, is not a mechanical rotation but a more abstract concept that characterizes a particle's intrinsic angular momentum. It is particularly important for systems at atomic length scales, such as individual atoms, protons, or electrons.
Almost all molecules encountered in daily life exist in a singlet state, but molecular oxygen is an exception.[1] At room temperature, O2 exists in a triplet state, which can only undergo a chemical reaction by making the forbidden transition into a singlet state. This makes it kinetically nonreactive despite being thermodynamically a strong oxidant. Photochemical or thermal activation can bring it into the singlet state, which makes it kinetically as well as thermodynamically a strong oxidant.

## Slide 16: Principle of the single-fluorophore localization
Adapted from Manley et al., 2010
Notes: PALM and STORM with using a stochastic readout of individual molecules prepared in the on-state, while the majority of molecules are kept in the off-state. The major advantage over PALM and STORM is that both states can be realized as electronic states, i.e. much faster switching times, thus faster recording, can be realized.
After nanoscale precise read-out of the localization of individual molecules they are switched back to the dark-state.
After excitation (1) from the ground state S0 into the first excited state S1, the molecule has two ways of returning into the ground state: The regular fluorescence process (2) from S1 (on state), or the transition via a a dark state D (off state), e.g. the Triplet state. In the latter case the molecule returns radiation free back into the ground state (3).
Keep only a small fraction of molecules in the "on" state (i.e. the ground state is depleted) at a given time to be able to record positions of individual molecules separately.

## Slide 17: Pointilistic nature of Single-Molecule Localization Microscopy
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 18: Pointilistic nature of Single-Molecule Localization Microscopy
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 19: Accumulation of SMLs in dSTORM image
B
C
D
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 20: Accumulation of oil color spots on canvas
E
F
G
Adapted from Hoboth et al., Int J Mol Sci 2021

## Slide 21: SMLM Image is Mathematically Reconstructed from the Coordinates of Individual Molecules
Adapted from Endesfelder and Heilemann 2014

## Slide 22: Nuclear PI(4,5)P2 Visualized by Wide-Field Microscopy
WF

## Slide 23: Data Acquisition by 2D dSTORM

## Slide 24: Single-Molecule Localization Procedure
Adapted from Zeiss

## Slide 25: Nuclear PI(4,5)P2 Visualized by 2D dSTORM
WF
Centroids

## Slide 26: Nuclear PI(4,5)P2 Visualized by 2D dSTORM
WF
WF
Centroids

## Slide 27: Nuclear PI(4,5)P2 Visualized by 2D dSTORM
Localization
Precision
WF
Centroids
Gauss. Fit

## Slide 28: Nuclear PI(4,5)P2 Visualized by 2D dSTORM
Localization
Precision
WF
Centroids
Gauss. Fit

## Slide 29: Seeing is believing Labeling, imaging, image reconstruction Measuring is knowing Image analysis & quantification, NND Visualizing is understanding Color-coded in cellulo maps of NNDs